## asi2_xls
AIRSPEED INDICATOR - WATER MANOMETER HEIGHT VS SPEED
Version 1.1, released 1 Aug 2005
Author - Kevin Horton, khorton01@rogers.com
This spreadsheet will allow you to convert back and forth between calibrated airspeed and
water manometer height. It is used to check the calibration of airspeed indicators.
Instructions on how to construct and use a water manometer can be found at:
http://www.eaa1000.av.org/technicl/instcal/instcal.htm
Lots more info on pitot-static system calibrations can be found on my web site at:
http://go.phpwebhosting.com/~khorton/rv8/phplinks/index.php?&PID=48
The spreadsheet is only valid for subsonic speeds.
Enter data in the shaded cells.
UNITS
Airspeed Units (mph, kt, or km/h): | mph |  | asl | 761.22
Water height units (inches or mm): | inches |  | psl | 407.513
OPTION 1 - WATER HEIGHT TO SPEED
Water Height (inches) | 1.25
Airspeed (mph) | 50.3626
OPTION 2 - SPEED TO WATER HEIGHT
Airspeed (mph) | 218
Water Height (inches) | 23.8791
OPTION 3 – AIRSPEED INDICATOR CALIBRATION
| Water | Airspeed |  |  | Correct | Error
| Height | Indicator |  |  | Reading
Reading
| (inches) | (mph) | (mph) | (mph) | (mph) | (mph)
| 1.062 | 42 |  |  | 46.4249 | 4.4249
| 1.37 | 53 |  |  | 52.7218 | -0.27819
| 1.8 | 60 |  |  | 60.4206 | 0.42056
| 2.69 | 71 |  |  | 73.8339 | 2.8339
| 3.3 | 81 |  |  | 81.7563 | 0.75633
| 4.125 | 90 |  |  | 91.3736 | 1.3736
| 5.1 | 100 |  |  | 101.557 | 1.557
| 6.25 | 111 |  |  | 112.3694 | 1.3694
| 7.4 | 120 |  |  | 122.2103 | 2.2103
| 8.6 | 130 |  |  | 131.679 | 1.679
| 10 | 140 |  |  | 141.9075 | 1.9075
| 11.45 | 150 |  |  | 151.7532 | 1.7532
| 12.85 | 160 |  |  | 160.6669 | 0.66686
| 14.3 | 170 |  |  | 169.3846 | -0.61543
| 16.375 | 180 |  |  | 181.0977 | 1.0977
| 18.3 | 190 |  |  | 191.2904 | 1.2904
| 16.375 | 180 |  |  | 181.0977 | 1.0977
| 20.375 | 200 |  |  | 201.6674 | 1.6674
| 24.5 | 218 |  |  | 220.7585 | 2.7585
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
Version History
Date | Version | Remarks
2005-02-27 | 1 | Original Release
2005-08-01 | 1.1 | Minor change to sea level pressure to match NASA Reference Publication 1046, Measurement of Aircraft Speed and Altitude, Table A27